Electrical and Gas Safety Policy

At Docklands Day Nursery we ensure that electricity and gas are managed safely.

## Electrical Safety

- The mains supply to the buildings can be switched off using the main isolation switch which is located in Fiona House.

- In the event of a circuit tripping, there is a fuse box in the Nursery cupboard, located in the managers office.

- All electrical items over a year old within the Nursery have a PAT (Portable Appliance Test).

## Gas safety

- The gas supply to the buildings can be switched off using the gas safety shut-off valve (a red lever), which is in the pre- toddler room in the first grey door from the right.

- If any member of staff or the public can smell gas on the nursery premises the gas supply will be turned off immediately and a report made to

# National Gas Emergencies on 0800 111 999

- Staff and children will be taken to the end of the garden by the fire evacuation point or will follow instructions from the Designated Health and Safety Officer, until an inspector declares the premises free from gas.

- A current Gas Safety Certificate for the boiler is held in the nursery’s Health and safety folder.

.